## Slide 1: Development of Healthcare-Associated Infections: Role of the Built Environment
James P. Steinberg, MD
Division of Infectious Diseases
Emory University School of Medicine

## Slide 2: Healthcare Associated Infections
Infections acquired while in a health care facility
Types
  Endogenous – pathogen arises from normal microbiota due to factors within the health care setting
  Exogenous – pathogen acquired from the health care environment

## Slide 3: Modes of Transmission of Infectious Agents Design and Built Environment Prevention Strategies
Mode Facility Design
Contact
- Direct (person-to-person) Hand rub dispenser placement
- Indirect (fomites/environment) New surface materials
Large Droplet (>5µm) Spatial separation
Small Droplet (airborne) Negative pressure
Common source (water) Temperature control/disinfection

## Slide 4: Chain of Transmission
Traditional model
  Chain of transmission
    Pathogens
    Reservoirs/sources
    Mode of spread
    Patients
  “Breaking” a link of the chain can interrupt transmission
Linear chain model may underestimate complexity

## Slide 5: Variables Influencing Transmission of Pathogens Healthcare Setting
Patient/staff/family colonization
  Colonization pressure
Biologic properties of pathogen
Antibiotic pressure
Contaminated environment
  Surfaces
  Equipment
  Water sources
Intensity of contact
Duration of exposure
Adherence to infection control measures

## Slide 6
Low colonization pressure: poor compliance with infection control measures less likely to cause on transmission of MRSA
MRSA
Nurse caring for beds 9-12 cleans hands 40% of time, but no cross transmission

## Slide 7
MRSA
MRSA
MRSA
MRSA
MRSA
MRSA
MRSA
MRSA
High Colonization Pressure: Small breaks in infection control measures could be enough to cause transmission
Nurse caring for beds 6-9 cleans hands 80% of time – but patient in bed 8 acquires MRSA

## Slide 8
COLONIZEDor
INFECTED HOST
Patients
HCWs
Visitors
CHAIN OF TRANSMISSION
COLONIZEDor
INFECTED HOST
Patients
HCWs
Visitors
HAI
Human elements
Transmission
Sources and reservoirs
of pathogens
RESERVOIR or SOURCE
IN THE HOSPITAL
EXTERNAL SOURCE

## Slide 9
COLONIZED/
INFECTED HOST
Patients
HCWs
Visitors
Person to Person Transmission
CHAIN OF TRANSMISSION: AN INTERVENTION MODEL
COLONIZED/
INFECTED HOST
Patients
HCWs
Visitors
HAI
Human elements
Transmission
Sources and reservoirs
of pathogens
Opportunities for interventions through the built environment
RESERVOIR or SOURCE
IN THE HOSPITAL
EXTERNAL SOURCE
Hand hygiene
PPE
Other barriers
Isolation
Disinfect
Eliminate
Hand hygiene
PPE
Other barriers
Isolation
Hand hygiene
PPE
Other barriers
Isolation
Barriers
Filters
PPE – personal protective equipment (gowns, gloves, masks)

## Slide 10: NIH Outbreak of Carbapenem-resistant Klebsiella pneumoniae (KPC)
18 patients, 11 deaths, 6 from KPC
Sophisticated analysis with whole-genome sequencing
Transmission map developed based on presumed person-to-person transmission
However, environmental sources uncovered
  Outbreak strain in 6 sink drains and a ventilator
Despite intensive investigation, role if environment unclear
  Environmental decontamination performed Snitkin et al. Science Translational Med 2012 vol 4

## Slide 11: Curtains – Prototype of Issues Relevant to Role of Environment
Used for privacy/partitions
Often contaminated
  VRE, MRSA, C. difficile
  Transmission to hands occurs but is inefficient
    Trillis ICHE 2008;29:1174
Have been linked to outbreaks
  Acinetobacter in ICU, transmission interrupted with multiple interventions including curtain replacement
    Das JHI 2002;50:110
Role in endemic transmission unclear

## Slide 12: Curtains – Prototype of Issues Relevant to Role of Environment
Cleaning recommendations don’t specify frequency
  HICPAC - Clean when visibly soiled
Newer technologies (impregnated materials) marketed
  Can reduce contamination
  No data on prevention of transmission
Hand hygiene can mitigate risk
Design strategies that eliminate need of curtains may be optimal but are they cost effective?

## Slide 13: Challenges in Assessing Role of Environment in Transmission of Pathogens
Environmental contamination common and dynamic
Transmission often requires humans as intermediaries can be impacted by behavior
Overlapping pathways of transmission exist and obfuscate role of environment
Most transmission events are silent
  Lead to colonization not infection
Studying transmission events and impact of environment is difficult
Role of the environment may be underappreciated

## Slide 14: Challenges in Assessing Role of Environment in Transmission of Pathogens
Interventions to reduce environmental contamination (materials, cleaning methods) often measure microbial burden and not colonization/infection
Build/design interventions sometimes impossible to study in controlled or rigorous way
Given paucity of data to inform facility design decisions, cost considerations very important
Behavior or process changes may reduce transmission of pathogens independently from design/technologic solutions
  Design can influence behavior
  Technologic/built solutions may be easier to implement
m