## Slide 1: VENTRICULOSTOMY PRACTICE ON A LIBRARY OF VIRTUAL BRAINS USING A VR/HAPTIC SIMULATOR IMPROVES SIMULATOR AND SURGICAL OUTCOMES VENTRICULOSTOMY PRACTICE ON A LIBRARY OF VIRTUAL BRAINS USING A VR/HAPTIC SIMULATOR IMPROVES SIMULATOR AND SURGICAL OUTCOMES Ventriculostomy Practice on a Library of Virtual Brains Using a VR/Haptic Simulator Improves Simulator and Surgical Outcomes
Rachel Yudkowsky MD MHPE
Graham Clinical Performance Center
Dept of Medical Education
University of Illinois at Chicago

## Slide 2
University of Illinois at Chicago
Graham Clinical Performance Center
College of Medicine
College of Engineering
Institute for Patient Safety Excellence
Cristian Luciano | Alan Schwartz
Pat Banerjee | Fady Charbel
Ali Alaraj | Kelly Smith
Michael Lemole | Silvio Rizzi

## Slide 3
Disclosures
Drs Banerjee and Charbel: Owners/Partners in Immersive Touch Inc
Dr Luciano: Consultant to Immersive Touch Inc
This project was supported in part by a grant from the Agency for Healthcare Research and Quality to Dr Yudkowsky
The opinions expressed in this presentation are those of the authors and do not reflect the official position of AHRQ or the U.S. Department of Health and Human Services.

## Slide 4: Ventriculostomy
AHRQ 2012

## Slide 5: Component Skills
Translate 2D CT images into 3D location and shape of ventricles
Aim probe correctly
Insert probe to correct depth
Perceive density transition into ventricle
AHRQ 2012

## Slide 6
Immersive Touch® Sensimmer ® Simulator

## Slide 7
AHRQ 2012

## Slide 8: Video
IMSH 2012

## Slide 9: The trouble with task trainers…
No clinical variation
No range of difficulties
AHRQ 2012

## Slide 11: Would Ventriculostomy Practice on a Library of Virtual Brains Improve Simulator and Surgical Outcomes?

## Slide 12: The intervention: Simulator Practice on 12 Virtual Brains
View full CT scan
Attempt to insert catheter into brain, using pre-drilled burrhole
Check to see if successful
“Open” brain to see where the catheter tip ended up
AHRQ 2012

## Slide 13: Simulator Pre/Post
3 attempts at each of 3 novel virtual brains:
  Normal ventricle
  Slit ventricle
  Shifted ventricle
Different brains presented pre and post
Posttest brains presented at 1-month follow up.
AHRQ 2012

## Slide 14: Simulator Outcomes Generalized Linear Mixed Models (GLMM)
Relative to pre-intervention performance, residents were more successful immediately post-intervention (OR=3.43, 95% CI=[1.74, 6.77], p<.001) as well as at follow-up (OR=2.59, 95% CI=[1.24, 5.41], p=.011)
Performance at follow-up was significantly worse than immediately post-intervention (p<.001)
AHRQ 2012

## Slide 15: Live Surgery Pre/Post
Data from live procedures collected for about 6 months before, 1 month after intervention.
  Successful cannulation
  Success at first attempt
  Ipsilateral vs contralateral
  Lateral ventricle vs other space
  Hemorrhage
AHRQ 2012

## Slide 16: Live Surgery Pre/Post 91 pre-practice, 47 post
Success at first attempt: 82% pre vs 91% post practice,
  OR=4.74, 95% CI=[1.10, 20.4], p=0.04
Correct lateral ventricle placement (vs 3rd ventricle) was more likely before practice
  OR=2.61, 95% CI=[1.20, 5.77], p=0.02
Hemorrhage 7%, NS
AHRQ 2012

## Slide 17: Ventriculostomy
AHRQ 2012

## Slide 18: Caution!
Is the simulator also teaching incorrect habits?
Lack of “soft-pass” capability
IMSH 2012

## Slide 19: Cautious Conclusions
Ventriculostomy practice on a library of virtual brains improves simulator and surgical outcomes
AHRQ 2012
Simulator provides unique immediate fb
Library provides a range of clinical challenges and difficulty levels

## Slide 20: Next Steps
Improve simulator
Embed in curriculum for beginning neurosurgery residents
 Just-in-time training for non-neurosurgeons?
 Ultimate goal: practice on a projection of your own patient’s brain.
AHRQ 2012

## Slide 21: Thanks AHRQ!
Questions?